## Sheet1
Electric |  |  | Gas
Pros | Cons |  | Pros | Cons
Environmentally friendly | Better suited to smaller properties |  | Better suited to larger properties | CO2 emissions
PoU Efficiency: 99-100% | Cost†: £8,600 (3x 12kW) |  | Cost: £3,350 | Risk of CO leak
Lifetime: 15-25 yrs | Cost to run‡: £4,600 per year |  | Cost to run: £1,345 per year | PoU Efficiency: 90-95%
Minimal maintenance required | Greater risk of shock or fire |  | Overall efficiency: 80-90% | Lifetime: 10-15 yrs
Compatible with solar/renewable | Overall efficiency: 30-45% |  | No service changes required | Annual maintenance required
| Electrical alterations required |  | Suits poorly insulated properties | Annual gas test required
Faster heating of rooms
Boiler supply & installation cost: | 8600 |  | Boiler supply & installation cost: | 3300
Incoming Fuseboard Cost: | 2300
Upgrade to 3-phase cost: | 3000 | +
Annual Running Cost: | 4675 |  | Annual Running Cost: | 1500
† Cost includes a new fuseboard within the boiler room
‡ Cost using single phase electricity. 3-phase electricity price is unknown